## Title
TOLLAND COUNTY
DEPARTMENT INVENTORY
Updated 2-1-2023

## TN Member Departments
TOLLAND COUNTY MEMBER DEPARTMENTS
| Department | Town | Chief | Dispatch | Frequency | Telephone
| Andover Fire | Andover | Ron Mike Jr. | TN | 33.44 | 875-2543
| Ashford Fire | Ashford | Paul Varga | TN | 33.44 | 875-2543
| Bolton Fire | Bolton | Bruce Dixon | TN | 33.44 | 875-2543
| Broad Brook Fire | East Windsor | Tom Arcari | TN | UHF | 875-2543
| Crystal Lake Fire | Ellington | Tim Seitz | TN | 33.86 | 875-2543
| Columbia Fire | Columbia | Steve Postemsky | TN | 33.44 | 875-2543
| Coventry | Coventry | Bud Meyers | TN | 33.44 | 875-2543
| East Granby | East Granby | Kerry Flaherty | TN | UHF | 875-2543
| East Windsor Ambulance | East Windsor | Thomas Clynch III | TN | UHF | 875-2543
| Ellington Ambulance | Ellington | Peter Hany | TN | 33.86 | 875-2543
| Ellington Fire | Ellington | Jack Rich | TN | 33.86 | 875-2543
| Hebron Fire | Hebron | Peter Starkel | TN | 33.44 | 875-2543
| Lebanon Fire | Lebanon | Jason Schall | TN | 33.72 | 875-2543
| Mansfield Fire | Mansfield | Fred Mitchell | TN | 33.44 | 875-2543
| Marlborough Fire | Marlborough | Kevin Asklar | TN | 45.9 | 875-2543
| Somers Fire | Somers | John Roache | TN | 33.86 | 875-2543
| Stafford Ambulance | Stafford | Alex Moore | TN | 33.86 | 875-2543
| Stafford Fire | Stafford | Dan Carr | TN | 33.86 | 875-2543
| Tolland Fire | Tolland | John Littell | TN | 33.86 | 875-2543
| UCONN Fire | Storrs | William Perez | UC | UHF | 486-4925
| Union Fire | Union | Paul Wentworth | TN | 33.86 | 875-2543
| Vernon Fire | Vernon | Stephen Eppler | TN | 33.48 | 875-2543
| Warehouse Point Fire | East Windsor | James Barton | TN | UHF | 875-2543
| West Stafford Fire | Stafford | Joseph Lorenzetti | TN | 33.86 | 875-2543
| Willington Fire #1 | Willington | Alex Moore | TN | 33.86 | 875-2543
| Willington Hill Fire | Willington | Tom Snyder | TN | 33.86 | 875-2543

## Contact Info
DEPARTMENT CONTACT INFORMATION
Department | Station | Physical Address | Mailing Address | Town | Zip Code | Phone | Fax
Andover Fire Department | Station 15 | 11 School Road | Same | Andover | 6232 | 8607427477 | 8607424047
Ashford Fire Department | Station 20 | 46 Westford Road | Same | Ashford | 6278 | 8604299862 | 8604294935
Ashford Fire Department | Station 220 | 19 Old Town Road | Same | Ashford | 6278 | 8604294145 | N/A
Bolton Fire Department | Station 34 | 168 Bolton Center Road | Same | Bolton | 6043 | 8606493910 | 8606435070
Broad Brook Fire Department | Station 39 | 125 Main Street | P.O. Box 328 | East Windsor | 6016 | 8606235940 | 8606271408
Columbia Fire Department | Station 5 | 167 Route 66 | P.O Box 26 | Columbia | 6237 | 8602289602 | 8602289810
Coventry Fire Department | Station 118 | 1755 Main Street | P.O. Box 1 | Coventry | 6238 | 8607423510 | 8607423520
Coventry Fire Department | Station 218 | 3427 Main Street | P.O. Box 1 | Coventry | 6238 | 8607421606 | 8607423514
Coventry Fire Department | Station 318 | 1645 South Street | P.O. Box 1 | Coventry | 6238 | 8607420465 | N/A
Coventry Fire Department | Station 418 | 999 Merrow Road | P.O. Box 1 | Coventry | 6238 | 8607425539 | N/A
Crystal Lake Fire Department | Station 42 | 316 Sandy Beach Road | Same | Ellington | 6029 | 8608703174 | 8608703177
East Granby Fire Department | Station 8 | 7 Memorial Drive | Same | East Granby | 6026 | (860-653-6267
East Granby Fire Department | Station 208 | 10 Seymour Rd | Same | East Granby | 6026
East Windsor Ambulance | Station 538 | 25-R School Street | P.O. Box 188 | East Windsor | 6088 | 8606540515 | 8606235289
Ellington Ambulance | Station 543 | 41 Maple Street | 41 Maple Street | Ellington | 6029 | 8608703170 | 8608703173
Ellington Fire Department | Station 43 | 29 Main Street | 29 Main Street | Ellington | 6029 | 8608703190 | 8608703193
Ellington Fire Department | Station 243 | 7 Nutmeg Drive | 29 Main Street | Ellington | 6029
Hebron Fire Department | Station 10 | 44 Main St | P.O. Box 911 | Hebron | 6248 | (860)228-3022 | (860)228-0711
Hebron Fire Department | Station 210 | 663 Church St. | P.O. Box 911 | Hebron | 6248 | (860)228-2870 | (860)228-0711
Hebron Fire Department | Station 310 | 164 North St. | P.O. Box 911 | Hebron | 6248 | (860)228-5982 | (860)228-0711
Lebanon Fire Department | Station 6 | 23 Goshen Hill Road | Same | Lebanon | 6249 | 8606427546
Mansfield Fire Department | Station 107 | 879 Stafford Road | 4 South Eagleville Road | Mansfield | 6268 | 8604292050 | 8604298137
Mansfield Fire Department | Station 207 | 1722 Storrs Road | 4 South Eagleville Road | Mansfield | 6268 | 8604290035 | 8604294837
Mansfield Fire Department | Station 307 | 999 Storrs Road | 4 South Eagleville Road | Mansfield | 6268 | 8604295290 | 8604293233
Marlborough Fire Department | Station 17 | 7 Hebron Road | 7 Hebron Road | Marlborough | 6447 | 8602956219
Marlborough Fire Department | Station 217 | 200 West Road | 7 Hebron Road | Marlborough | 6447 | 8602956216
Somers Fire Department | Station 46 | 400 Main Street | Same | Somers | 6071 | 8607497626 | 8607628233
Stafford Ambulance | Station 547 | 27 Willington Ave. | Same | Stafford Springs | 6076 | 8606845364 | 8606841389
Stafford Fire #1 | Station 145 | 9 Colburn Road | P.O. Box 147 | Staffordville | 6077 | 8606843612 | 8606842385
Stafford Fire #1 | Station 245 | 27 Willington Ave. | P.O. Box 147 | Staffordville | 6077 | 8606847525 | N/A
Tolland Fire Department | Station 140 | 64 Crystal Lake Road | P.O. Box 827 | Tolland | 6084 | 8608713681 | 8608720625
Tolland Fire Department | Station 240 | 3 Rhodes Road | P.O. Box 827 | Tolland | 6084 | 8608713682 | N/A
Tolland Fire Department | Station 340 | 247 Gehring Road | P.O. Box 827 | Tolland | 6084 | 8608713684 | N/A
Tolland Fire Department | Station 440 | 107 Plains Road | P.O. Box 827 | Tolland | 6084 | 8608713688 | N/A
Tolland Fire Department | Training Center | 191 Merrow Road | P.O. Box 827 | Tolland | 6084 | 8608713677 | 8608713687
UCONN Fire Department | Station 22 | 126 North Eagleville Road | Same | Storrs | 6269 | 8604864925 | 8604864179
Union Fire Department | Station 72 | 1049 Buckley Highway | Same | Union | 6076 | 8606844109 | 8606843159
Vernon Ambulance Building | Station 641 | 280 West Street | P.O. Box 54 | Vernon | 6066 | 8608717468 | 8608714952
Vernon Fire Department | Station 141 | 724 Hartford Turnpike | P.O. Box 54 | Vernon | 6066 | 8608753534
Vernon Fire Department | Station 241 | 59 Birch Road | P.O. Box 54 | Vernon | 6066 | 8608703537
Vernon Fire Department | Station 341 | 100 Hartford Turnpike | P.O. Box 54 | Vernon | 6066 | 8606432036
Vernon Fire Department | Station 441 | 30 Nye Street | P.O. Box 54 | Vernon | 6066 | 8608703530
Vernon Fire Department | Station 541 | 5 Prospect Street | P.O. Box 54 | Vernon | 6066 | 8608703536
Warehouse Point Fire Department | Station 38 | 89 Bridge Street | P.O. Box 738 | East Windsor | 6088 | 8606237780 | 8602928265
Warehouse Point Fire Department | Station 238 | 15 Stoughton Road | P.O. Box 738 | East Windsor | 6088 | 8606277880 | N/A
West Stafford Fire Department | Station 44 | 144 West Stafford Road | Same | Stafford Springs | 6076 | 8606843695 | 8606849029
Willington Fire Department | Station 13 | 426 River Road | P.O Box 161 | Willington | 6279 | 8604290288 | 8604874545
Willington Fire Department | Station 213 | 143 River Road | P.O Box 161 | Willington | 6279 | 8604295737 | N/A
Willington Hill Fire Department | Station 49 | 24 Old Farms Road | Same | Willington | 6279 | 8604292993 | 8604297353

## Notes
TOLLAND COUNTY
DEPARTMENT APPARATUS and EQUIPMENT INVENTORY
NOTES
This version of the inventory adds the following information:
Boat types
Sections listing vehicles by types. See tabs below.
A quick reference section of apparatus listed by department.
Contact information and mailing addresses for each station
Clarifications:
Squad is a designation given to a piece of apparatus that carries the equipment needed to be classified as a heavy rescue, but also carries water and has a pump. Some areas call these types of apparatus "rescue pumpers".
You can print the entire inventory, but do a Print Preview first to see if your printer sizes the
information properly. It is designed to print all columns one sheet wide.
If there are corrections, omissions, or changes to make, please contact Deputy County Coordinator Jordan (HQ-22) at jordanwa@mansfieldct.org or (860) 234-8764.

## Inventory
TOLLAND COUNTY EQUIPMENT INVENTORY
|  |  | VEHICLE INFORMATION UPDATED 2-1-23 |  |  |  |  | WATER |  |  |  | HOSE |  | FOAM |  | RESCUE EQUIPMENT
Department | Call Sign | Classification | Year | Make | Cab Size | 4X4 | Notes | Pump (gpm) | Tank (gal.) | Portable Tank | Dump Valve Size | Supply Hose (in.) | Length (ft.) | Class A | Class B | Extrication | Air Bags | Water Rescue | Confined Space | Trench | Rope Rescue | Haz-Mat | Gas Meters | Thermal Camera | SCBA Fill (PSI) | Light Tower | Generator (Kw)
ANDOVER | Ambulance 515 | Ambulance - BLS | 2013 | Chevy/ Lifeline | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| ET-115 | Engine Tank | 2005 | E-One | 6 |  |  | 1500 | 1000 | - | - | 4 | 1500 | - | 40 | - | - | - | - | - | - | - | - | - | - | - | -
| ET-215 | Engine Tank | 1991 | E-One Cyclone | 6 |  |  | 1500 | 1000 | - | - | 4 | 1500 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Marine 115 | Boat | 1998 | Zodiac- Inflatable |  |  | 14 ft. with Trailer 25 HP Motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 115 | Medium Rescue | 2004 | Ford F-550 | 5 | Y |  | - | - | - | - | - | - | - | - | Y | - | Y | - | - | Y | Y | - | - | - | Y | Y
| Rescue 215 | Heavy Rescue | 1998 | Freightliner/Becker | 2 |  |  | - | - | - | - | - | - | - | - | Y | Y | - | - | - | Y | - | Y | - | 6000 | Y | -
| Tanker 115 | Tanker | 2020 | Freightliner/US Tanker | 2 |  |  | 1500 | 3000 | 3000 x 2 |  | 4 | 500
| Service 115 | Service Vehicle | 1989 | Ford/E-One | 2 | Y | Brush Equipment. Skid mount tank | - | 200 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| UTV 115 | UTV |  |  |  |  | EMS Only
ASHFORD | Ambulance 520 | Ambulance - BLS | 2010 | Chevy 3500/Lifeline | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| ET-120 | Engine Tank | 2015 | Spartan/Metro Star | 6 |  |  | 1500 | 1000 | - | - | 5 | 1000 | - | - | Y | - | - | - | - | - | - | - | - | - | - | 10
| ET-220 | Engine Tank | 2021 | Freightliner/ Spartan | 2 |  |  | 1500 | 1000 | - | - | 5 | 1400 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| ET-420 | Engine Tank | 2000 | Freightliner/KME | 2 |  |  | 1500 | 1000 | - | - | 5 | 1400 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Marine 120 | Boat | 2021 | Zodiac- Inflatable |  |  | 12 ft. with Trailer 20 HP Motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 120 | Heavy Rescue | 2006 | GMC 4500 | 2 | Y |  | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | - | - | -
| Service 120 | Service Vehicle | 1984 | Chevy Pickup | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | At Station | [5 empty] | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 6000 | - | -
BOLTON | ET-334 | Engine Tank | 1993 | E-One Cyclone | 6 |  |  | 1500 | 1000 | - | - | 4 | 2500 | - | - | Y | - | - | - | - | - | - | - | Y | - | - | -
| Forestry 134 | Forestry | 2022 | Ford F-550 | 2 | Y | 200 ft of forestry hose on a reel | 200 | 300 | - | - | 1.75 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Marine 134 | Boat | 2020 | Rescue One |  |  | 16 ft. with Trailer 40 HP Motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 134 | Heavy Rescue | 2013 | Pierce Velocity | 6 |  |  | - | - | - | - | - | - | - | - | Y | Y | Y | - | - | - | Y | Y | Y | - | Y | 15
| Service 134 | Service Vehicle | 2021 | Dodge Ram 3500 | 2 | Y | Command and EMS | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 3
| Service 234 | Service Vehicle | 2018 | Dodge Ram 3500 | 5 | Y | EMS Calls & Fire Police | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 334 | Service Vehicle | 2009 | Chevrolet Suburban | 7 | Y | Command and EMS
| Tanker 234 | Tanker | 2017 | Kenworth/US Tanker | 2 |  |  | 1500 | 3000 | 3500 | 10 | 4
| Truck 134 | Aerial | 2008 | Pierce Velocity | 6 |  | 100 ft. Ladder | 2000 | 500 | - | - | 4 | 400 | - | - | Y | - | - | - | - | - | - | - | Y | - | - | 15
| UTV 134 | UTV | 2004 | Kubota | 2 | Y | Forest Fire Equipped | 50 | 70 | - | - | 1.5 | 500 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
BROAD BROOK | ET-139 | Engine Tank | 2004 | HME/Central States | 5 |  | Limited hazmat & rope rescue | 1500 | 2000 | - | - | 5 | 1500 | - | 60 | Y | - | - | - | - | - | - | Y | Y | - | Y | 25
| ET-239 | Engine Tank | 2008 | Seagrave Marauder II | 5 |  | Limited trench rescue | 1500 | 1500 | - | - | 5 | 1000 | 60 | - | Y | Y | - | Y | - | Y | Y | Y | Y | - | Y | 30
| ET-339 | Engine Tank | 1989 | Mack/Ranger | 5 |  | 3000 Dump Tank | 1250 | 1000 | - | - | 4 | 1000 | - | 40 | - | - | - | - | - | - | - | Y | Y | - | - | 15
| Forestry 239 | Forestry | 1984 | Dodge/Deuce-N-Half | 2 | 6x6 | Hose: 200' 1/2" / 200' 1.5 /200' 1.75' | 350 | 600 | - | - | 2.5 | 20 | 15 | - | - | - | - | - | - | - | - | - | - | - | - | 8
| Marine 139 | Boat | 2020 | Rescue One | 3 |  | 16 ft. with Trailer 25 HP Motor |  | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | -
| Rehab 139 | Rehab |  | Ford |  |  | Rehab Bus. Heat/AC /Light Medical | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 139 | Service Vehicle | 2018 | Chevy Tahoe | 4 | Y | with command center | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | -
| Service 239 | Service Vehicle | 2008 | Ford F-350 | 6 | Y | Rescue Alive sled | - | - | - | - | - | - | - | - | Y |  | Y | - | - | - | - | - | Y | - | - | -
| UTV 139 | UTV | 2011 | Polaris Ranger | 3 | 6x6 | Brush fire equipped | 50 | 70 | - | - | 2.5 | 200 | - | - | - | - | - | - | - | - | - | - | - | - | - | 5
COLUMBIA | Ambulance 505 | Ambulance - BLS | 2015 | Chevy G4500/Lifeline | 2 |  | Full Powerload System,Lucas | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 605 | Ambulance - BLS | 2009 | Ford E-450/Lifeline | 2 |  | Full Powerload System,Lucas | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Engine 105 | Engine | 2011 | Pierce Arrow XT | 6 |  |  | 1500 | 750 | - | - | 4 | 1200 | - | 10 | - | - | - | - | - | - | - | Y | Y | - | - | 10
| Engine 205 | Engine | 1991 | E-One | 4 |  |  | 1250 | 750 | - | - | 4 | 1500 | - | 10 | - | - | - | - | - | - | - | Y | Y | - | - | -
| Forestry 105 | Forestry | 1989 | Ford F-350 | 2 | Y |  | 125 | 250 | - | - | 1.5 | 1500 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Marine 105 | Boat | 2017 | Defender - Inflatable |  |  | 14 ft. with Trailer 40 HP Motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
[7 empty] | RIT,Rescue Alive Sled,IceSuits | - | - | - | - | - | - | - | - |  |  | - | - | - | - | - |  | - | -
| Service 105 | Service Vehicle | 2008 | Ford F-550 | 5 | Y | Trash Pump Portable Generator |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Tank 105 | Tanker | 2007 | Kenworth/Pierce | 2 |  |  | 1500 | 3000 | 3500 | 12\10 | 4" | 1000 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| UTV 105 | UTV |  | John Deere | 2 | Y | Med Bed,Elec. Pump,Tank | - | 50 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
COVENTRY | Ambulance 518 | Ambulance - BLS | 2018 | Dodge Ram / Lifeline | 2 | Y | Powerload System,Lucas | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 618 | Ambulance - BLS | 2010 | Ford E-350/Lifeline | 2 |  | Full Powerload System,Lucas | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Engine 318 | Engine | 2005 | International/E-One | 2 | Y | 4X4 Brush/Water Supply | 1000 | 600 | - | - | 4 | 1500 | - | 15 | - | - | - | - | - | - | - | - | - | - | - | -
| ET-118 | Engine Tank | 2002 | E-One/Typhoon | 6 |  |  | 1500 | 1000 | - | - | 4 | 1200 | - | 30 | - | - | - | - | - | - | - | Y | Y | - | - | 6
| ET-318 | Engine Tank | 1993 | E-One Cyclone | 6 |  |  | 1500 | 1000 | - | - | 4 | 1100 | - | 15 | - | - | - | - | - | - | - | Y | Y | - | - | -
| ET-418 | Engine Tank | 2017 | Spartan Metro | 6 |  |  | 1500 | 1000 | - | - | 4 | 1100 | - | 15 | Y | - | - | - | - | - | - | Y | Y | - | - | -
| Forestry 118 | Forestry | 2002 | Ford F-350 | 2 | Y |  | 50 | 200 | - | - | 1.5 | 300 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Marine 118 | Boat | 1988 | Pontoon Boat |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Marine 218 | Boat | 2005 | Zodiac- Inflatable |  |  | 14 ft. with Trailer 25 HP Motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 218 | Heavy Rescue | 2013 | Spartan Metro/Rescue 1 | 6 |  | Heavy Rescue/Pumper | 250 | 300 | - | - | - | - | - | - | Y | Y | Y | - | - | - | - | Y | Y | - | Y | 30
| Service 118 | Service Vehicle | 1999 | Ford E-350/Old Ambulance | 2 |  | Dive Truck | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | -
| Service 218 | Service Vehicle | 2002 | Chevy Suburban | 5 | Y | Fire Police/EMS R1 | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | -
| Service 318 | Service Vehicle | 1997 | Ford F-350 | 2 | Y | Brush Equipment/Med Response
| Service 418 | Service Vehicle | 2020 | Ford F-250 | 2 | Y | Med Response/Light Extrication
| Service 518 | Service Vehicle | 2018 | Chevy Tahoe | 2 | Y | EMS Deputy Chief Vehicle/EMS R1 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 618 | Service Vehicle |  | Currently no vehicle assigned |  |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 718 | Service Vehicle | 2002 | Chevy Sububan | 5 | Y | People Mover/Fire Police
| Tanker 218 | Tanker | 2016 | Freightliner/Midwest Tanker | 2 |  |  | 1250 | 3000 | 3500 | 10 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Truck 218 | Aerial | 2001 | Pierce Dash | 6 |  | 105 ft. Ladder | 1500 | 300 | - | - | 4 | 400 | - | - | Y | - | - | - | - | - | - | Y | Y | - | - | 10
| UTV 118 | UTV |  | Polaris Ranger | 4 | 6x6 | Medical Equip. with Bed | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
CRYSTAL LAKE | Engine 142 | Engine | 2017 | Ford F-550 / HME | 5 | Y |  | 1500 | 300 | - | - | 5 | 250 | 15 | - | - | - | - | - | - | - | - | - | - | - | - | -
| ET-242 | Engine Tank | 2005 | Spartan Gladiator | 6 |  |  | 1500 | 2000 | - | - | 5 | 1200 | - | - | Y | - | - | - | - | - | - | - | - | - | - | 8
| Marine 142 | Boat | 2005 | Carolina Skiff |  |  | 17 ft. with Trailer with 50 HP Motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 142 | Service Vehicle | 2020 | Ford F-350 | 5 | Y | Crew Cab | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 242 | Service Vehicle | 2002 | GMC Sierra 2500 | 5 | Y |  | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | -
| Squad 142 | Squad | 2009 | Spartan Metro Star | 6 |  |  | 1500 | 1000 | - | - | 5 | 800 | 30 | - | Y | Y | - | - | - | - | - | - | - | - | Y | 15
| Tank 142 | Tanker | 2017 | Freightliner/4-Guys | 2 |  |  | 1250 | 3000 | 3000 | 10 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| UTV 142 | UTV | 2013 | Polaris Ranger | 2 | 6x6 | Forestry & Medical Equip. with Bed | 50 | 70 | - | - | 1 | 50 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | At Station | [5 empty] | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | -
East Granby | ET-208 | Engine Tank | 1996 | KME | 6 | N |  | 1250 | 1000 | N |  | 4 | 1100 | 10 | [8 empty] | Y | Y
| ET-308 | Engine Tank | 2005 | KME | 6 | N |  | 1250 | 1000 | N |  | 4 | 1100 | 10 | [8 empty] | Y | Y
| Rescue 308 | Rescue | 2005 | Freightliner M2/Pierce | 5 | N | Converted Prime Mover | N/A | N/A | N | N/A |  | N/A |  |  | Y | [5 empty] | Y
| Service 608 | Service | 2019 | Ford F-250 | 4 | Y | Pickup | N/A | N/A | N |  |  | N/A
| Tanker 408 | Tanker | 2013 | Kenworth / 4-Guys | 2 | N |  | 1250 | 3200 | Y |  | 4
| Rescue 808 | Rescue | 2001 | Pierce Quantum | 6 | N |  | N/A | N/A | N | N/A |  | N/A |  |  | Y | Y |  |  |  |  | Y | Y |  |  | Y | 45
|  | State Decon Trailer |  |  | 0 | N |  | N/A | N/A | N/A | N/A | N/A | N/A
| UTV 108 | Utility | 2019 | Polaris Ranger | 2 | Y |  |  | 60 | N | N/A | N/A | N/A
E. WINDSOR AMB. | Ambulance 538 | Ambulance | 2020 | Mercedes/Sprinter | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 638 | Ambulance | 2019 | Mercedes/Sprinter | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 738 | Ambulance | 2015 | Mercedes/Sprinter | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 838 | Ambulance | 2016 | Mercedes/Sprinter | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 938 | Ambulance | 2000 | Ford Type 2 | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 1038 | Ambulance | 2004 | Ford F-450 | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Medic 1 | Paramedic Car | 2013 | Chevy Tahoe | 4
| Medic2 | Paramedic Car | 2007 | Ford Expedition | 4
ELLINGTON | Engine 143 | Engine | 1991 | Freightliner/KME | 5 | Y | Brush & Structural Fire Capability | 1500 | 500 | - | - | 5 | 1000 | 20 | - | Y | - | - | - | - | - | - | Y | Y | - | -
| Forestry 243 | Forestry | 1996 | GMC 3500 Pickup | 2 | Y | Brush Equipment | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| HazMat 143 | HazMat Trailer |  |  |  |  | FEMA Type 1 HazMat Trailer | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | -
| Marine 143 | Boat |  | Inflatable |  |  | 12 ft. with Motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 143 | Heavy Rescue | 2001 | Pierce Quantum | 7 |  |  | - | - | - | - | - | - | - | - | Y | Y |  |  |  | Y | Y | Y | Y | 4500 | Y | 30
| Service 143 | Service Vehicle | 2014 | Ford Pickup/Omaha | 5 | Y | Medical Response Vehicle | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 243 | Service Vehicle | 2016 | Ford F-350 | 5 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Special Hazards 143 | Service Vehicle | 2007 | Ford F-550 | 5 | Y | HazMat Vehicle used to pull trailer | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | -
| Squad 143 | Squad | 2019 | Sutphen | 5 |  |  | 1500 | 1000 |  |  | 5 | 1500 | 30 |  | Y | - | - | - | - | - |  | Y | Y |  |  | 6
| Squad 243 | Squad | 2020 | Sutphen | 5 |  |  | 1500 | 1000 |  |  | 5 | 1500 | 30 |  | Y | [6 empty] | Y | Y |  |  | 6
| Tank 143 | Tanker | 2007 | Kenworth/US Tanker | 2 |  |  | 1500 | 3000 | 3500 | Y | 5 | 300 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Truck 143 | Aerial | 2010 | Spartan/Crimson | 6 |  | 103 ft. Ladder | 1500 | 400 | - | - | 5 | 1000 | - | - | Y | - | - | - | - | - | - | - | - | - | - | 30
| UTV 143 | UTV |  | Polaris | 2 | 6x6 | Forestry Equipment with Bed | 50 | 70 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | At Station | [5 empty] | - | - | Y | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | -
ELL. AMB. | Ambulance 543 | Ambulance - BLS | 2019 | AEV Type/3 | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 643 | Ambulance - BLS | 2019 | AEV Type/3 | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 543 | Service Vehicle | 2016 | Chevy Suburban | 5 | Y | People Mover | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
HEBRON | Ambulance 510 | Ambulance - BLS | 2019 | AEV | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 610 | Ambulance - BLS | 2010 | Ford/Lifeline | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Engine 110 | Engine | 1996 | International/KME | 2 |  |  | 1500 | 750 | - | - | 5 | 3000 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| ET 210 | Engine Tank | 2014 | Spartan/Four Guys | 6 |  | CAFS | 1500 | 1000 | 1800 | - | 5 | 1000 | Y | Y | - | - | - | - | - | - |  | Y | Y | - | - | 15
| ET 310 | Engine Tank | 1998 | KME | 6 |  |  | 1500 | 1000 | 1800 | - | 5 | 1000 | Y | Y | - | - | - | - | - | - |  | Y | Y | - | - | Y
| Marine 210 | Boat | 2022 | Defender- Inflatable |  |  |  | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | -
| Marine 310 | Boat | 2007 | Zodiac- Inflatable
| Rescue 110 | Heavy Rescue | 2005 | E-One Typhoon | 5 |  |  | - | - | - | - | - | - | - | - | Y | Y | Y | - | - | Y | Y | Y | - | - | Y | 35
| Service 110 | Service Vehicle | 2018 | Ford F-350 | 4 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 210 | Service Vehicle | 2016 | Ford F-350 | 4 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 310 | Service Vehicle | 2017 | Ford F-350 | 4 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Tanker 110 | Tanker | 2005 | International/4 Guys | 2 |  |  | 1000 | 3000 | 3500 | 10 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Truck 110 | Aerial | 2008 | E-One | 6 |  | 75' Ladder/CAFS | 2000 | 480 | - | - | 5 | 800 | Y | - | - | - | - | - | - | - | - | Y | Y | - | - | 10
| Utility 210 | UTV | 2002 | Polaris Ranger | 2 | 6x6 | Enclosed Trailer | 50 | 50 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Utility 310 | UTV | 2019 | Polaris Ranger 1000 | 2 | Y |  | 50 | 50 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
LEBANON | Ambulance 506 | Ambulance - BLS | 2017 | Ford E-450/Line Line | 2
| ET-106 | Engine Tank | 1990 | International/Amer. Eagle | 2 |  |  | 1250 | 1000 |  |  | 5" | 1200 | [9 empty] | Y | Y |  |  | 4
| ET-206 | Engine Tank | 2006 | Pierce Contender | 6 |  |  | 1250 | 1000 |  |  | 5" | 1000 | 30
| Forestry 106 | Forestry | 2006 | Ford F-550 XL/Pierce | 3 | Y |  | 75 | 400
| HT 106 | Hose Tender | 2005 | International/Rosenbauer | 2 | Y | 80' hard suction | 2000 | 500 |  |  | 5" | 3000
| Ladder 106 | Aerial | 2015 | Pierce | 6 |  | 75' rear-mount CAFS | 1500 | 500 |  |  | 5" | 800 | 25 | 25 | [11 empty] | ?
| Rescue 106 | Heavy Rescue | 2013 | Spartan/Rescue One | 6 | [10 empty] | Y | Y | Y | [8 empty] | ?
| Service 106 | Service Truck | 2020 | Chevy Silverado | 2 | Y | Medical Response/Tow Vehicle
| Service 206 | Service Vehicle | 2011 | Ford Crown Victoria | 4 |  | EMS/Staff Vehicle
| Tanker 106 | Tanker | 1996 | International/Central States | 2 |  |  | 1500 | 2500 | 3000 | Y | 5" | 1200 | [13 empty] | 4
| UTV 106 | UTV |  | Can-Am (on trailer) | 3 | Y | Stokes basket, AED
| Marine 106 | Boat |  | Zodiac- Inflatable |  |  | 13 ft., 15 HP | [10 empty] | Y
| Marine 206 | Boat |  | John boat - flat bottom |  |  | 14 ft. | [10 empty] | Y
MANSFIELD | Ambulance 507 | Ambulance - BLS | 2017 | Dodge/Lifeline | 2 | Y | Stretcher Lift | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | -
| Ambulance 607 | Ambulance - BLS | 2019 | Dodge/Lifeline | 2 | Y | Stretcher Lift | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | -
| Ambulance 707 | Ambulance - BLS | 2013 | GMC/Lifeline | 2 |  | Stretcher Lift | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | -
| ET-107 | Engine Tank | 2019 | Spartan Metrostar | 4 |  | CAFS | 1500 | 1000 | - | - | 5 | 1500 | 50 | - | - | - | - | - | - | - | - | Y | Y | - | - | -
| ET-407 | Engine Tank | 1994 | Pierce Dash | 4 |  |  | 1250 | 1000 | - | - | 5 | 1500 | 30 | - | - | - | - | - | - | - | - | - | Y | - | - | -
| Forestry 307 | Forestry | 1996 | Ford F-550 | 2 | Y | Has a portable pump | 250 | 300 | - | - | 1.5 | 600 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| HazMat Trailer | Trailer |  |  |  |  | DEEP HazMat/MCI Trailer | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | 3
| Marine 107 | Boat |  | Zodiac- Inflatable |  |  | 12 ft. with Trailer W/25 Hp motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Marine 307 | Boat |  | Rescue One |  |  | 16' with Trailer W/40Hp motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 107 | Heavy Rescue | 1997 | Pierce Dash | 6 |  | Has RIT Equipment | - | - | - | - | - | - | - | - | Y | Y | - | - | - | Y | - | Y | - | 6000 | Y | 15
| Service 107 | Service Vehicle | 2019 | Chevy | 2 | Y | Utility body with lift gate | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - | -
| Service 207 | Service Vehicle | 2010 | Ford Expedition | 3 | Y |  | - | - | - | - | - | - | - | - | - | - | Y |  | - | - | - | - | - | - | - | 3
| Service 307 | Service Vehicle | 2001 | Ford F-550 | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | 10
| Squad 207 | Squad | 2004 | Seagrave | 4 |  |  | 1500 | 1000 | - | - | 5 | 1500 | 30 | - | Y | Y | - | - | - | Y | - | - | Y | - | - | 10
| Tank 307 | Tanker | 2016 | Spartan Metro Star | 2 |  | 2-Drop Tanks | 1250 | 3000 | 3000 3500 | 10 | 5 | 200 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| UTV 307 | UTV | 2014 | Polaris | 2 | 6x6 | Fire & EMS Capabilities | 5.5 HP | 70 | - | - | - | - | 5 | - | - | - | - | - | - | - | - | - | - | - | - | -
MARLBOROUGH | Ambulance 517 | Ambulance - BLS | 2019 | Ford F-550/Lifeline | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Engine Tank 117 | Engine Tank | 2004 | Ferrara Igniter | 5 |  |  | 1250 | 1000 | - | - | 5 | 1000 | 30 | 30 | - | - | - | - | - | - | - | Y | Y | - | - | -
| Engine Tank 217 | Engine Tank | 2004 | Ferrara Igniter | 5 |  |  | 1250 | 1000 | - | - | 5 | 1000 | 30 | 30 | - | - | - | - | - | - | - | Y | Y | - | - | -
| Hose Tender 517 | Hose Tender | 1991 | Mack | 2 |  |  | 1250 | 500 | - | - | 5 | 2000 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Marine 117 | Boat |  | Defender-Inflatable |  |  | 12ft Trailer and 20 Hp Motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 117 | Heavy Rescue | 2003 | International 4400 | 2 |  |  | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | - | - | -
| Service 117 | Service Vehicle |  | Chevy |  |  | Traffic Control | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 217 | Service Vehicle | 2018 | Ford/F-350 |  |  | Staff Vehicle | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Tank 117 | Tanker | 2007 | International 4400 | 2 |  | Side and Rear Dumps | 1250 | 1800 | 2000 | 10 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Tank 217 | Tanker | 2007 | International 4400 | 2 |  | Side and Rear Dumps | 1250 | 1800 | 2000 | 10 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| UTV 117 | UTV |  | Polaris Ranger | 2 | 6x6 | EMS and Fire Equipped | - | 100 | - | - | 5 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
SOMERS | Ambulance 546 | Ambulance - BLS | 2011 | Dodge 4500/Lifeline | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | -
| Ambulance 646 | Ambulance - BLS | 2015 | Dodge 4500/Lifeline | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | -
| Ambulance 746 | Ambulance - BLS | 2019 | Dodge 5500/Lifeline | 2 | Y
| Marine 146 | Boat |  | Zodiac- Inflatable |  |  | 14 ft. with trailer and 20 HP motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 346 | Service Vehicle | 2016 | Ford F-350 Crew Cab | 5 | Y |  | - | - | - | - | - | - | - | - | - | - | Y | - | - | Y | - | Y | - | - | - | -
| Service 246 | ALS Fly Car | 2016 | Ford Expedition | 5 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 146 | ALS Fly Car | 2020 | Chevy Suburban | 3 | Y | [16 empty] | Y
| Squad 146 | Squad | 2013 | 4 Guys/Gladiator | 6 |  |  | 1500 | 1000 | - | - | 5 | 1500 | 30 | - | Y | Y | - | - | - | - | Y | Y | Y | - | - | 4
| Squad 246 | Squad | 2013 | 4 Guys/Gladiator | 6 |  |  | 1500 | 1000 | - | - | 5 | 1500 | 30 | - | Y | - | - | - | - | - | - | Y | Y | - | - | 4
| Tank 146 | Tanker | 2014 | Kenworth/4 Guys | 2 |  |  | 1250 | 3000 | 3500 | Y | 5 | 300 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Tank 246 | Tanker | 2006 | Kenworth/KME | 2 |  |  | 1500 | 2500 | 3000 | Y | 5 | 1000 | - | - | - | - | - | - | - | - | - | - | - | - | - | 2
STFD. AMB. | Ambulance 547 | Ambulance - BLS | 2020 | Ford E-450/AEV | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 647 | Ambulance - BLS | 2014 | GMC/Lifeline | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 747 | Ambulance - BLS | 2013 | GMC/Lifeline | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
STAFFORD FIRE #1 | ET-145 | Engine Tank | 1992 | Peterbilt/Marion | 2 |  |  | 1500 | 1000 | 500 | - | 5 | 1200 | 20 | - | - | - | - | - | - | - | - | - | Y | - | - | 20
| ET-245 | Engine Tank | 1998 | Western Star/KME | 2 |  |  | 1500 | 1000 | - | - | 5 | 1200 | 20 | - | - | - | - | - | - | - | - | - | - | - | - | 20
| ET-345 | Engine Tank | 1991 | Pierce Arrow | 5 |  |  | 1500 | 1000 | 500 | - | 5 | 1200 | 20 | - | - | - | - | - | - | - | - | - | Y | - | - | 20
| Forestry 145 | Forestry | 1969 | Jeep | 2 | Y |  | 150 | 200 | - | - | 1 | 800 | 10 | - | - | - | - | - | - | - | - | - | - | - | - | 2
| Marine 145 | Boat | 2011 | Rescue One |  |  | 16 ft. with 40 HP motor and trailer | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Squad 145 | Squad | 2016 | Spartan Metro/ 4 Guys | 6 |  |  | 1500 | 1000 | - | - | 5 | 1600 | - | 10 | Y | Y | - | Y | - | - | Y | Y | - | 4500 | Y | 6
| Service 145 | Service Vehicle | 2015 | Ford F-550 | 2 |  | Dive Rescue Vehicle- Ice Sled | - | - | - | - | - | - | - | - | - |  | Y | - | - | - | - | - | - | - | - | 2
| Service 245 | Duty Vehicle | 2015 | Ford F-250 | 5 | Y | Duty Officer Vehicle | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 345 | Service Vehicle | 1999 | Ford F-350 | 2 | Y | Forest Fire Equipped | 125 | 250 | - | - | - | - | 10 | - | - | - | - | - | - | - | - | - | - | - | - | 2
| UTV 145 | UTV | 2008 | Cub Cadet | 3 | Y |  | 50 | 50 | - | - | - | - | 1 | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | At Station |  |  |  |  | 6000 psi. at both Stations | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 6000 | - | -
TOLLAND | Ambulance 540 | Ambulance - BLS | 2017 | Ford F-550/Lifeline | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 640 | Ambulance - BLS | 2015 | Ford F-550/Lifeline | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| ATV 240 | ATV |  | Polaris | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| ET-140 | Engine Tank | 2000 | Pierce Dash | 6 |  |  | 1500 | 1000 | - | - | 5 | 1000 | 10 | 10 | Y | - | - | - | - | - | - | Y | Y | - | - | 7.5
| ET-240 | Engine Tank | 2005 | Pierce Dash | 6 |  |  | 1500 | 1000 | - | - | 5 | 1000 | 10 | 10 | - | - | - | - | - | - | - | Y | Y | - | - | 7.5
| ET-340 | Engine Tank | 1994 | Pierce Dash | 6 |  |  | 1500 | 1000 | - | - | 5 | 1000 | 10 | 20 | - | - | - | - | - | - | - | - | Y | - | - | 6
| ET-440 | Engine Tank | 1993 | Pierce Dash | 6 |  |  | 1500 | 1000 | - | - | 5 | 1000 | 10 | 20 | Y | - | - | - | - | - | - | Y | Y | - | - | 6
| ET-540 | Engine Tank | 1988 | GMC General | 2 |  |  | 1250 | 1000 | - | - | 5 | 1000 | - | - | - | - | - | - | - | - | - | - | Y | - | - | 6
| Squad 240 | Squad | 2022 | 4 Guys/Spartan | 6 |  |  | 1500 | 1000 | - | - | 5 | 1000 | 30 | 10 | Y | Y | Y | Y | - | Y | Y | Y | Y |  | Y
| Service 140 | Service Vehicle | 2014 | Ford F-550 | 5 | Y |  | - | - | - | - | - | - | - | - | Y | - | Y | - | - | - | - | - | - | - | - | -
| Service 240 | Service Vehicle | 2019 | Ford F-350 | 5 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 340 | Service Vehicle | 2002 | Ford F-350 | 5 | Y | Flat Bed Pickup | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 440 | Fire Police Vehicle | 2007 | Ford F-350 | 5 | Y |  | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | Y | - | - | - | -
| Service 540 | Service Vehicle | 2006 | Grand Cherokee | 5 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 640 | Duty Vehicle | 2011 | Chevy Tahoe | 5 | Y | Duty Officer Vehicle
| Tank 140 | Tanker | 2003 | Kenworth/US Tanker | 2 |  |  | 1500 | 3000 | 3000 | 10 | 5 | 200 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Tank 440 | Tanker | 2003 | Kenworth/US Tanker | 2 |  |  | 1500 | 3000 | 3000 | 10 | 5 | 200 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Truck 240 | Aerial | 1990 | Pierce Arrow | 6 |  | 105 ft. Ladder | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | - | Y | - | -
| UTV 240 | UTV |  | Polaris Ranger | 2 | 6X6 | Forestry & Medical Equip. with Bed | 50 | 70 | - | - | 1.5 | 200 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | At Station | [5 empty] | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y(2) | - | -
UCONN | Ambulance 2 | Ambulance - BLS* | 2016 | Mercedes-Sprinter | 2 |  | In Farmington ,can be spare @Storrs @ BLS Level | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 3 | Ambulance - BLS* | 2013 | GMC Savana C | 2 |  | In Farmington ,can be spare @Storrs @ BLS Level | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 4 | Ambulance - BLS | 2011 | Ford E-450/EVI | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 5 | Ambulance - BLS | 2008 | Ford E-450/EVI | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 6 | Ambulance - BLS | 2015 | Dodge 4500/Lifeline | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 7 | Ambulance - BLS | 2010 | Ford E-450/EVI | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Car 4 | Service Vehicle | 2017 | Chevy Tahoe | 4 | Y | Shift Commander Vehicle | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Engine 1 | Engine | 2016 | Rosenbauer | 6 |  |  | 1500 | 750 | - | - | 4 | 1000 | - | 5 | Y | - | - | - | - | - | - | Y | Y | - | - | -
| Engine 3 | Engine | 1994 | KME Renegade | 4 |  |  | 1250 | 750 | - | - | 4 | 1000 | - | 5 | - | - | - | - | - | - | - | Y | Y | - | - | -
| Engine 2 | Engine | 2007 | Seagrave | 4 |  | In Farmington,can be a spare @Storrs | 1500 | 750 | - | - | 5 | 1000 | - | 10 | Y | [6 empty] | Y | Y |  |  | 6
| UTV 1 | UTV | 2018 | Gravely Atlas 3000 | 2 | Y | Forestry and Medical Equip. with Bed | 35 | 75 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| MCI Trailer | Trailer | 2008 | ACSI |  |  | State Mass Casualty Trailer | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 1 | Service Vehicle | 2011 | Chevy 2500 | 4 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 2 | Service Vehicle | 2010 | Chevy Tahoe | 4 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 3 | Service Vehicle | 2012 | Chevy Suburban 2500 | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 4 | Service Truck | 2016 | Ford F150 | 4 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 5 | Service Vehicle | 2015 | Ford Expedition | 4 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Special Hazards 1 | Heavy Rescue | 2000 | Freightliner/EVI | 2 |  | HazMat/Confined Space | - | - | - | - | - | - | - | - | - | - | Y | Y | - | Y | Y | Y | Y | - | - | 25
| Tower 1 | Aerial | 2017 | Rosenbauer | 6 |  | 104 ft. Bucket | 1500 | 250 | - | - | 4 | 800 | - | - | - | - | - | - | - | Y | - | - | - | - | - | 6
|  | At Station | [5 empty] | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | -
UNION | ET-172 | Engine Tank | 1991 | International/Amer. Eagle | 2 |  |  | 1000 | 1250 | - | - | 5 | 1000 | 10 | 20 | - | - | - | - | - | - | - | - | Y | - | - | 5
| ET-272 | Engine Tank | 2001 | International/E-One | 2 |  |  | 1250 | 1250 | 2000 | 10 | 5 | 1000 | 10 | 10 | Y | - | - | - | - | - | - | - | Y | - | - | 2
| Marine 172 | Boat |  | Inflatable |  |  | 12 ft. Zodiac with 18 Hp motor | - | - | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | -
| Rescue 172 | Heavy Rescue | 2002 | Spartan/Rescue One | 6 |  |  | - | - | - | - | - | - | - | - | Y | Y | Y | - | - | - | Y | Y | - | 6000 | Y | 20
| Service 272 | Service Vehicle | 1991 | GMC/Becker | 2 | Y | Has forest fire equipment | 250 | 260 | - | - | - | - | Y | - | Y | - | - | - | - | - | - | - | - | - | - | 6
| UTV 172 | UTV |  | Cub Cadet | 2 | Y | Forest fire equipped. With med bed | 50 | 50 | - | - | 0.75 | 100 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
VERNON | Engine 441 | Engine | 2000 | E-One | 6 |  |  | 1500 | 500 | - | - | 4 | 1000 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| ET-141 | Engine Tank | 2012 | Pierce Velocity | 6 |  |  | 1500 | 1000 | - | - | 4 | 1000 | - | 30 | - | - | - | - | - | - | - | Y | Y | - | - | 3
| ET-241 | Engine Tank | 2003 | American LaFrance | 6 |  |  | 1500 | 2000 | - | - | 4 | 1500 | - | - | - | - | - | - | - | - | - | Y | Y | - | - | -
| ET-341 | Engine Tank | 2019 | Pierce | 6 |  |  | 1500 | 1000 | - | - | 4 | 1000 | - | 30 | - | - | - | - | - | - | - | Y | Y | - | - | 3
| ET-541 | Engine Tank | 2012 | Pierce Velocity | 6 |  |  | 1500 | 1000 | - | - | 4 | 1000 | - | 30 | - | - | - | - | - | - | - | Y | Y | - | - | 3
| ET-641 | Engine Tank | 1990 | E-One | 4 |  | Spare Engine Tank | 1500 | 1000 | - | - | 4 | 1000 | - | - | - | - | - | - | - | - | - | Y | Y | - | - | -
| SQ-441 | Squad | 2021 | Pierce Enforcer | 6 |  | Pump/Roll Capability | 1500 | 1000 |  |  | 4 | 1000 |  | 10 | Y | Y | Y |  |  | Y |  | Y | Y |  | Y | 6
| Marine 141 | Boat |  | Inflatable |  |  | 12 ft. Zodiac with trailer and Motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 141 | Heavy Rescue | 2012 | Pierce Velocity | 6 |  |  | - | - | - | - | - | - | - | - | Y | Y | Y | Y | - | Y | - | Y | Y | - | Y | 35
| Service 141 | Service Vehicle |  | Ford F-150 | 3 | Y | Pick-up Truck | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Service 341 | Service Vehicle |  | Ford E-350 | 2 |  | Mobile Air Truck | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 4500 | - | -
| Special Hazards 241 | Prime Mover | 2005 | Freightliner | 5 |  | with State Decon Trailer | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Tower 141 | Aerial | 2003 | E-One | 6 |  | 95 ft. Bucket | 2000 | 300 | - | - | 4 | 400 | - | - | - | - | - | - | - | - | - | Y | Y | - | - | 10
| Tower 541 | Aerial | 2022 | E-One | 6 |  | Rear- mount 100'Bucket | - | - | - | - | 4 | 100 | - | - | - | - | - | - | - | - | - | Y | Y | - | - | 8
| UTV 241 | UTV |  | Polaris Ranger | 2 | 6x6 | Med Bed | 50 | 100 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| UTV 441 | UTV |  | Polaris Ranger | 2 | 6x6 | Med Bed | 50 | 50 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | At Station | [5 empty] | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Y | - | -
VERNON AMB. | Ambulance 541 | Ambulance - BLS |  | Ford E-450 | 2 |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 641 | Ambulance - BLS | 2015 | Ford F-550 | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 741 | Ambulance - BLS | 2016 | Ford F-550 | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
WAREHOUSE POINT | Engine 138 | Engine | 1998 | Pierce Dash | 6 |  |  | 1250 | 750 | - | - | 5 | 1000 | - | 75 | - | - | - | - | - | - | - | - | - | - | - | -
| Engine 638 | Engine | 1989 | Pierce Lance | 4 |  |  | 1500 | 1000 | - | - | 4 | 1500 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Forestry 138 | Forestry | 2017 | Chevrolet 3500 |  | Y |  | 100 | 200 | - | - | 3 | 250 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Marine 138 | Boat | 1972 | Boston Whaler |  |  | with trailer and motor | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rehab 138 | Rehab | 2009 | Ford E-350 Van |  |  | Rehab Bus. Heat/AC | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 138 | Heavy Rescue | 1993 | Pierce Lance | 10 |  | Walk-in | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | - | - | -
| Squad 238 | Squad | 2009 | Pierce Arrow | 6 |  |  | 1250 | 750 | - | - | - | - | - | 50 | Y | - | - | - | - | - | - | - | - | - | Y | 20
| Tower 138 | Aerial | 2003 | Pierce | 6 |  | 95 ft. Bucket | - | - | - | - | 3 | 100 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Truck 238 | Aerial | 2021 | Pierce |  |  | 107 FT Ladder | 1250 | 500 |  |  | 5 | 1000 |  | 20 | Y | Y | - | - | - | Y | - | Y | Y | - | Y
W. STAFFORD | ET-144 | Engine Tank | 1989 | Pierce Lance | 6 |  |  | 1000 | 1000 | - | - | 5 | 800 | - | - | - | - | - | - | - | - | - | Y | Y | - | - | 6
| ET-244 | Engine Tank | 2000 | Pierce Lance | 6 |  |  | 1250 | 2000 | - | - | 5 | 1200 | 40 | - | - | - | - | - | - | - | - | - | - | - | - | 8
| Rescue 244 | Light Rescue | 2013 | Dodge 3500 | 5 | Y |  | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - | - | - | - | -
| Service 144 | Service Vehicle | 2016 | Ford F-250 | 5 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Special Hazards 144 | Prime Mover | 2005 | Freightliner | 5 |  | with State Decon Trailer | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 6000 | - | -
| Squad 144 | Squad | 2005 | Pierce Lance | 6 |  |  | 1250 | 500 | - | - | 5 | 1200 | 20 | - | Y | Y | - | - | - | - | - | - | - | - | Y | 15
| Tank 144 | Tanker | 2016 | Kenworth/4 Guys | 2 |  |  | 1250 | 3000 | 3500 (2) | 10 | 5 | 200 | - | - | - | - | - | - | - | - | - | - |  | - | - | -
| Tower 144 | Aerial | 1990 | Mack/Baker | 4 |  | 75 ft. Bucket | - | - | - | - | - | - | - | - | Y | - | - | - | - | - | - | - |  | - | - | 15
|  | At Station | [5 empty] | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 6000 | - | -
WILLINGTON #1 | Ambulance 513 | Ambulance - BLS | 2014 | Ford F-550/Lifeline | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Ambulance 613 | Ambulance - BLS | 2011 | Ford F-450/PL Custom | 2 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| ET-113 | Engine Tank | 2017 | Spartan Gladiator | 6 |  | CAFS System | 1500 | 2000 | - | 10 | 5 | 2200 | 35 | 20 | - | - | - | - | - | - | - | Y | Y | - | - | 8
| ET-213 | Engine Tank | 1990 | International/Darley | 3 |  |  | 1750 | 2000 | - | - | 5 | 2350 | - | 20 | - | - | - | - | - | - | - | Y | Y | - | - | 6
| Foam Trailer | Trailer |  | UPF |  |  | State Foam Trailer | - | - | - | - | - | - | - | 500 | - | - | - | - | - | - | - | - | - | - | - | -
| Service 213 | Service Vehicle | 2014 | Ford F-350 | 5 | Y |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Squad 113 | Squad | 2003 | Freightliner/Darley | 3 |  | CAFS System | 1500 | 600 | - | - | 5 | 500 | 75 | - | Y | - | Y | - | - | - | Y | Y | Y | - | Y | 25
|  | At Station | [5 empty] | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 6000 | - | -
WILLINGTON HILL | ET-149 | Hose Tender | 1990 | Mack/Ranger | 2 |  | Hose Reel | 1500 | 850 | - | - | 5 | 2000 | - | - | - | - | - | - | - | - | - | - | - | - | - | 7.5
| ET-249 | Engine Tank | 2011 | Pierce | 6 |  |  | 1500 | 1000 | - | - | 5 | 1000 | 20 |  | Y | - | - | - | - | - | - | Y | Y | - | - | 6
| Forestry 149 | Forestry | 2004 | Mercedes/Unimog | 2 | Y | Floating Pump | 250 | 500 | - | - | 1.5 | 600 | 30 | - | - | - | - | - | - | - | - | - | - | - | - | -
| Rescue 149 | Heavy Rescue | 1996 | Mack/Marion | 6 |  | Walk-in | - | - | - | - | - | - | - | - | Y | Y | - | - | - | - | - | Y | Y | 6000 | - | 25
| Service 149 | Duty Vehicle | 2008 | Ford Expedition | 5 | Y | Quick Response Medical | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Tank 149 | Tanker | 2003 | Western Star/US Tanker | 2 |  |  | 1500 | 3000 | 3000 | 10 | 2.5 | 300 | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Note on O129: F-500
Note on L233: Rear dump only
Note on O236: TFT Propak

## Quick Reference
TOLLAND COUNTY QUICK REFERENCE
TOWN |  | ENGINE |  |  | ENGINE |  |  | ENGINE |  |  | TANKER |  |  | LADDER |  | RESCUE | AMBUL | BRUSH | SERVICE/ | BOAT | SPECIAL
DEPARTMENT | LDH | Pump | Tank | LDH | Pump | Tank | LDH | Pump | Tank | LDH | Pump | Tank | Aerial |  | Pump |  |  |  | UTILITY
Andover |  | ET-115 |  |  | ET-215 | [5 empty] | Tank 115 |  |  |  |  | R-115 | A-515 |  | S-115 | M-115
Andover | 4 | 1500 | 1000 | 4 | 1500 | 1000 |  |  |  | 4 | 1500 | 3000 |  |  |  | R-215
Ashford |  | ET-120 |  |  | ET-220 |  |  | ET-420 | [7 empty] | R-120 | A-520 |  | S-120 | M-120
Ashford | 5 | 1500 | 1000 | 5 | 1500 | 1000 | 5 | 1500 | 1000
Bolton |  |  |  |  | ET-334 | [5 empty] | Tank 234 |  |  | Truck 134 |  | R-134 |  | F-134 | S-134 | M-134 | UTV-134
S-234
Bolton |  |  |  | 4 | 1500 | 1000 |  |  |  |  | 1500 | 3000 | 100 | Ladder | 2000 |  |  |  | S-334
Broad Brook |  | ET-139 |  |  | ET-239 |  |  | ET-339 | [9 empty] | F-239 | S-139 | M-139 | UTV-139
East Windsor | 4 | 1500 | 2000 | 4 | 1500 | 1500 | 4 | 1250 | 1000 | [9 empty] | S-239 |  | Rehab 139
Columbia |  | E-105 |  |  | E-205 | [5 empty] | Tank 105 | [5 empty] | A-505 | F-105 | S-105 | M-105 | UTV-105
Columbia | 4 | 1500 | 750 | 4 | 1250 | 750 |  |  |  | 4 | 1500 | 3000 |  |  |  |  | A-605
Coventry |  |  |  |  | ET-118 |  |  | E-318 |  |  | Tank 218 |  |  | Truck 218 |  | R-218 | A-518 | F-118 | S-118 | M-118 | UTV-118
Coventry |  |  |  | 4 | 1500 | 1000 | 4 | 1000 | 600 | - | 1250 | 3000 | 105 | Ladder | 1500 |  | A-618 |  | S-218 | M-218
|  | ET-418 |  |  | ET-318 | [13 empty] | S-418
| 4 | 1500 | 1000 | 4 | 1500 | 1000 | [12 empty] | S-518
S-618
S-718
ET-418
| 4 | 1500 | 1000 | 4 | 1500 | 100 | [12 empty] | S-518
Crystal Lake |  | ET-242 |  |  | E-242 |  |  | SQ-142 |  |  | Tank 142 | [7 empty] | S-142 | M-142 | UTV-142
Crystal Lake | 5 | 1500 | 2000 | 5 | 1000 | 500 | 5 | 1500 | 1000 | - | 1250 | 3000 | [6 empty] | S-242
East Granby |  | ET-208 |  |  | ET-308 | [5 empty] | Tank 408 |  |  |  |  | R-308 |  |  | S-608 |  | UTV-108
East Granby | 5 | 1500 | 1000 | 5 | 1500 | 1000 |  |  |  | 5 | 1250 | 3000
East Windsor Amb. | [16 empty] | A-538/638/738
East Windsor | [16 empty] | A-838/938/1038
Ellington Amb. | [16 empty] | A-543 |  | S-543
Ellington | [16 empty] | A-643
Ellington |  | SQ-143 |  |  | SQ-243 |  |  | E-143 |  |  | Tank 143 |  |  | Truck 143 |  | R-143 |  | F-243 | S-143 | M-143 | SH-143
| 5 | 1500 | 1000 | 5 | 1500 | 1000 | 5 | 1500 | 500 | 5 | 1500 | 3000 | 103 | Ladder | 1500 |  |  |  | S-243 |  | HM-143
Ellington | [20 empty] | UTV-143
Hebron |  | ET 210 |  |  | ET 310 |  |  | E 110 |  |  | Tank 110 |  |  | Truck 110 |  | R-110 | A-510 |  | S-110/210 | M-210 | UTV-210
Hebron | 5 | 1500 | 1000 | 5 | 1500 | 1000 | 5 | 1500 | 750 | 5 | 1000 | 3000 | 75 | Ladder | 2000 |  | A-610 |  | S-310 | M-310 | UTV-310
Lebanon |  | ET-106 |  |  | ET-206 |  |  | HT-106 |  |  | Tank 106 |  |  | Ladder 106 |  | R-106 | A-506 | F-106 | S-106 | M-106 | UTV-106
Lebanon | 5 | 1250 | 1000 | 5 | 1250 | 1000 | 5 | 1500 | 1000 | 5 | 1250 | 3000 | 75 |  | 1500 |  |  |  | S-206 | M-206
Mansfield |  | ET-107 |  |  | SQ-207 |  |  | ET-107 |  |  | Tank 307 |  |  |  |  | R-107 | A-507 | F-307 | S-107 | M-107 | UTV-307
| 5 | 1500 | 1000 | 5 | 1000 | 1000 | 5 | 1000 | 1000 | 5 | 1250 | 3000 |  |  |  |  | A-607 |  | S-207 | M-307
[8 empty] | ET-407 | [8 empty] | A-707 |  | S-307
| 5 | 1250 | 1000 |  |  |  | 5 | 1250 | 1000
Marlborough |  | ET-117 |  |  | ET-217 |  |  | HT-517 |  |  | Tank 117 |  |  |  |  | R-117 | A-517 |  | S-117 | M-117 | UTV-117
|  | 1250 | 1000 |  | 1250 | 1000 |  | 1250 | 500 |  | 1000 | 1800 | [6 empty] | S-217
Tank 217
Marlborough | [10 empty] | 1000 | 1800
Somers |  | ET-146 |  |  | SQ-146 |  |  | SQ-246 |  |  | Tank 146 | [5 empty] | A-546 |  | S-146 | M-146
| 5 | 2000 | 1000 | 5 | 1500 | 1000 | 5 | 1500 | 1000 | 5 | 1250 | 3000 |  |  |  |  | A-646 |  | S-246
[11 empty] | Tank 246 | [5 empty] | A-746 |  | S-346
Somers | [9 empty] | 5 | 1500 | 3000
Stafford Amb. | [16 empty] | A-547
Stafford | [16 empty] | A-647/747
Stafford Fire #1 |  | ET-145 |  |  | ET-245 |  |  | ET-345 | [7 empty] | SQ-145 |  | F-145 | S-145/245 | M-145 | UTV-145
Stafford | 5 | 1500 | 1000 | 5 | 1500 | 1000 | 5 | 1500 | 1000 | [9 empty] | S-345
Tolland |  | ET-140 |  |  | ET-240 |  |  | ET-340 |  |  | Tank 140 |  |  | Truck 240 |  | R-240 | A-540 |  | S-140 |  | UTV-240
| 5 | 1500 | 1000 | 5 | 1500 | 1000 | 5 | 1500 | 1000 | 5 | 1500 | 3000 | 105 | Ladder | - |  | A-640 |  | S-240 |  | ATV-240
|  | ET-440 |  |  | ET-540 |  |  | SQ-240 |  |  | Tank 440 | [7 empty] | S-340
Tolland | 5 | 1500 | 1000 | 5 | 1250 | 1000 | 5 | 1500 | 1000 | 5 | 1500 | 3000 | [6 empty] | S-440/540
UConn |  | E-1 |  |  | E-3 |  |  | E-2 | [5 empty] | Tower 1 |  | SH-122 | A-1,2,3 |  | C-4 |  | UTV-1
Storrs | 4 | 1500 | 750 | 4 | 1250 | 750 | 5 | 1500 | 750 |  |  |  | 104 | Platform | 1500 |  | A-4,5,6,7 |  | S-1
Union |  | ET-172 |  |  | ET-272 | [13 empty] | S-172 | M-172 | UTV-172
Union | 5 | 1000 | 1250 | 5 | 1250 | 1250 | [12 empty] | S-272
Vernon Amb. | [16 empty] | A-541
Vernon | [16 empty] | A-641/741
Vernon |  | ET-141 |  |  | ET-241 |  |  | ET-341 | [5 empty] | Tower 141 |  | R-141 |  |  | S-141 | M-141 | UTV-241
| 4 | 1500 | 1000 | 4 | 1500 | 2000 | 4 | 1500 | 1000 |  |  |  | 95 | Platform | 2000 |  |  |  | S-341 |  | UTV-441
|  | SQ-441 |  |  | ET-541 |  |  | E-441 | [5 empty] | Tower 541 | [6 empty] | SH-241
Vernon | 4 | 1500 | 1000 | 4 | 1500 | 1000 | 4 | 1500 | 500 |  |  |  | 100 | Platform | N/A
Warehouse Point |  | E-138 |  |  | E-638 |  |  | SQ-238 | [5 empty] | Tower 138 |  | R-138 |  | F-138 | S-138 | M-138
[13 empty] | 95 | Platform | N/A
| 5 | 1250 | 750 | 4 | 1500 | 10000 | 4 | 1250 | 750 |  |  |  |  | Truck 238
East Windsor | [12 empty] | 107 | Ladder | 1250
West Stafford |  | ET-144 |  |  | ET-244 |  |  | SQ-144 |  |  | Tank 144 |  |  | Tower 144 |  | R-244 |  |  | S-144 |  | SH-144
Stafford | 5 | 1000 | 1000 | 5 | 1250 | 2000 | 5 | 1250 | 500 | 5 | 1250 | 3000 | 75 | Platform
Willington #1 |  | ET-113 |  |  | ET-213 |  |  | SQ-113 | [8 empty] | A-513 |  | S-213
Willington | 5 | 1500 | 2000 | 5 | 1750 | 2000 | 5 | 1500 | 600 | [7 empty] | A-613
Willington Hill |  | ET-149 |  |  | ET-249 | [5 empty] | Tank 149 |  |  |  |  | R-149 |  | F-149 | S-149
Willington | 5 | 1500 | 850 | 5 | 1500 | 1000 |  |  |  | 2.5 | 1250 | 3000

## Aerial
AERIAL DEVICES
Department | Call Sign | Size | Type | Mount | Year | Apparatus Information | Pump (gpm) | Tank (gal) | Supply hose | Length
Bolton | Truck 134 | 100 | Ladder | Rear | 2008 | Pierce | 2000 | 500 | 4 | 400
Coventry | Truck 218 | 105 | Ladder | Rear | 2001 | Pierce | 1500 | 300 |  | 105
Ellington | Truck 143 | 103 | Ladder | Rear | 2010 | Crimson | 1500 | 400 | 5 | 1000
Hebron | Truck 110 | 75 | Ladder | Rear | 2008 | E-One | 2000 | 480 | 5 | 800
Tolland | Truck 240 | 105 | Ladder | Rear | 1990 | Pierce | - | - | - | -
UCONN | Tower 1 | 104 | Platform | Rear | 2017 | Rosenbauer | 1500 | 250 | 4 | 800
Vernon | Tower 141 | 95 | Platform | Mid | 2003 | E-One | 2000 | 300 | 4 | 400
Vernon | Tower 541 | 100 | Platform | Rear | 2022 | Pierce | - | - | 4 | 100
Warehouse Point | Tower 138 | 95 | Platform | Mid | 2003 | Pierce | - | - | 3 | 100
Warehouse Point | Truck 238 | 107 | Ladder | Rear | 2021 | Pierce | 1250 | 500
West Stafford | Tower 144 | 75 | Platform | Mid | 1990 | Mack/Baker | - | - | 5 | 500

## ATV UTV
ATV/UTV'S
Department | Call Sign | 4x4 | Apparatus Information | Pump | Tank (gal) | Med-bed | Trailer
Andover | UTV 115 | Y | John Deere |  |  | Y
Bolton | UTV 134 | Y | Kubota | 50 | 70 | Y | Y
Broad Brook | UTV 139 | 6x6 | Polaris Ranger | 50 | 70 | Y
Columbia | UTV 105 | Y | John Deere | Elec | 50 | Y | Y
Coventry | UTV 118 | 6x6 | Polaris Ranger | - | - | Y | Y
Crystal Lake | UTV 142 | 6x6 | Polaris Ranger | 50 | 70 | Y | -
East Granby | UTV 108 | Y | Polaris Ranger |  | 60
Ellington | UTV 143 | 6x6 | Polaris Ranger | 50 | 70 | Y | -
Hebron | UTV 210 | 6x6 | Polaris Ranger | 50 | 50 | Y | Y
Hebron | UTV 310 | 6x6 | Polaris Ranger | 50 | 50 | Y | Y
Lebanon | UTV 106 | Y | Can-Am
Mansfield | UTV 307 | 6x6 | Polaris Ranger | - | - | - | -
Marlborough | UTV 117 | Y | Polaris Ranger | - | 100 | Y | Y
Stafford #1 | UTV 145 | Y | Cub Cadet | 50 | 50 | - | Y
Tolland | ATV 240 | Y | Polaris | - | - | - | Y
Tolland | UTV 240 | 6x6 | Polaris Ranger | 50 | 70 | Y | Y
UCONN | UTV 1 | Y | Gravely-Atlas | 35 | 75 | Y | -
Union | UTV 172 | Y | Cub Cadet | 50 | 50 | Y | Y
Vernon | UTV 241 | 6x6 | Polaris Ranger | 50 | 100 | Y | -
Vernon | UTV 441 | 6x6 | Polaris Ranger | 50 | 50 | Y | -

## Boat
MARINE UNITS
Department | Call Sign |  | Boat Information |  | Motor (HP) | Ice Sled
Andover | M-115 | 14' | Inflatable | Zodiac | 25 | -
Ashford | M-120 | 12' | Inflatable | Zodiac | 20 | -
Bolton | M-134 | 16' | Rescue One |  | 40 | -
Broad Brook | M-139 | 12' | Inflatable | Zodiac | 15 | -
Coventry | M-118 |  | Pontoon |  | 25 | -
Coventry | M-218 | 14' | Inflatable | Zodiac | 25 | -
Crystal Lake | M-142 | 17' | Hard Bottom | Carolina Skiff | 50 | -
Columbia | M-105 | 14' | Inflatable | Defender | 40 | -
Ellington | M-143 | 12' | Inflatable | Zodiac | - | -
Hebron | M-210 | 12' | Inflatable | Defender | 20 | Y
Hebron | M-310 | 12' | Inflatable | Zodiac
Lebanon | M-106 | 13' | Inflatable | Zodiac
Lebanon | M-206 | 14' | Flat bottom | John boat
Mansfield | M-107 | 12' | Inflatable | Zodiac | - | Y
Mansfield | M-307 | 16' | Rescue One |  | 40 | Y
Marlborough | M-117 | 12' | Inflatable | Defender | 20 | -
Somers | M-146 | 14' | Inflatable | Zodiac | 20 | Y
Stafford #1 | M145 | 16' | Hard Bottom | Rescue One | 40 | Y
Union | M-172 | 12' | Inflatable | Zodiac | 18 | -
Vernon | M-141 | 12' | Inflatable | Zodiac | - | -
Warehouse Point | M-138 | 15' | Hard Bottom | Boston Whaler | - | -

## Forestry
FORESTRY UNITS
Department | Call Sign | Apparatus Information |  |  | Pump (gpm) | Tank (gal) | Supply hose | Length
Andover | S-115 | Service | 1989 | Ford/ E-One |  | 200 | - | -
Ashford | S-120 | Service | 1984 | Chevy Pick-up | 100 | 250 | - | -
Bolton | F-134 | Forestry | 2022 | Ford F-550 | 200 | 300 | 1.5 | 200
Broad Brook | F-239 | Forestry | 1984 | Duece-N-Half | 350 | 600 | 2.5 1.5 | 200 800
Columbia | F-105 | Forestry | 1989 | Ford F-350 | 125 | 225 | 1.5 | 600
Coventry | F-118 | Forestry | 2002 | Ford F-350 | 50 | 200 | 1.5 | 300
Coventry | F-218 | Forestry | 1985 | Chevy K-30 | 250 | 150 | 1.75 | 400
Crystal Lake | F-142 | Forestry | 1984 | Chevy Pick-up | 50 | 250 | 2.5 | 200
Ellington | E-143 | Forestry | 2021 | Freightliner/KME | 1500 | 500 | 5 | 1000
Ellington | F-243 | Forestry |  | GMC 3500 | N/A | 20 | N/A | N/A
Lebanon | F-106 | Forestry | 2006 | Ford F-550 | 75 | 400
Mansfield | F-307 | Forestry | 1996 | Ford F-550 | 250 | 300 | 1.5 | 600
Stafford #1 | F-145 | Forestry | 1969 | Jeep | 150 | 200 | 1 | 800
Stafford #1 | S-345 | Service | 1999 | Ford F-350 | 125 | 250 | - | -
Warehouse Point | F-138 | Forestry | 2017 | Chevy 3500 | 100 | 200 | 3 | 250
Willington Hill | F-149 | Forestry | 2004 | Unimog | 250 | 500 | 1.5 | 600

## Heavy Rescue
HEAVY RESCUES
Department | Call Sign |  | Apparatus Information |  | Extrication | Air Bags | Water Rescue | Confined | Trench | Rope Rescue | Haz-mat | Gas Meters | SCBA Fill | Light Tower | Generator (Kw)
Andover | R-115 | Rescue | 2004 | Ford F-550 | Y | - | - | - | - | Y | Y | - | - | Y | Y
Andover | R-215 | Rescue | 1998 | Freightliner/Becker | Y | Y | - | - | - | Y | - | Y | 6000 | Y | -
Ashford | R-120 | Rescue |  | GMC | Y | - | - | - | - | - | - | - | - | - | -
Bolton | R-134 | Rescue | 2013 | Pierce | Y | Y | Y | - | - | - | Y | Y | - | Y | 15
Coventry | R-218 | Rescue | 2013 | Spartan / Rescue One | Y | Y | Y | - | - | - | - | Y | - | Y | 30
Coventry | R-418 | Rescue | 1997 | Ford F-350 | Y | - | - | - | - | - | - | - | - | - | -
Crystal Lake | SQ-142 | Squad | 2009 | Spartan Metro | Y | - | - | - | - | - | - | - | - | Y | 15
East Granby | R-308 | Rescue | 2005 | Freightliner/Pierce | Y | - | - | - | - | - | Y | - | - | - | -
East Granby | R-808 | Rescue | 2001 | Pierce Quantum | Y | Y | - | - | - | - | Y | Y |  | Y | 45
Ellington | R-143 | Rescue | 2001 | Pierce Quantum | Y | Y | - | Y | - | Y | Y | Y | 4500 | Y | 30
Hebron | R-110 | Rescue | 2005 | E-One Cyclone | Y | Y | Y | - | - | Y | Y | Y | - | Y | 35
Lebanon | R-106 | Rescue | 2013 | Spartan / Rescue One | Y | Y | Y | [7 empty] | ??
Mansfield | R-107 | Rescue | 1997 | Pierce | Y | Y | - | - | - | Y | - | Y | - | -
Mansfield | SQ-207 | Squad | 2004 | Seagrave | Y | Y | - | - | - | Y | - | - | - | - | 10
Marlborough | R-117 | Rescue | 2003 | International | Y | - | - | - | - | - | - | - | - | - | -
Somers | SQ-146 | Squad | 2013 | Spartan / 4 Guys | Y | - | - | - | - | - | - | - | - | - | 4
Stafford #1 | SQ-145 | Squad | 2016 | Spartan Metro / 4 Guys | Y | Y | - | Y | - | - | Y | - | Y | Y | 6
Tolland | SQ-240 | Squad | 2022 | 4 Guys/Spartan | Y | Y | Y | Y | - | Y | Y | Y |  |  | -
UConn | SH-122 | Rescue | 2000 | Freightliner | - | - | Y | Y | - | Y | Y | Y | - | - | 25
Union | R-172 | Rescue | 2002 | Spartan / Rescue One | Y | Y | Y |  |  |  | Y | Y | Y | Y | 20
Vernon | R-141 | Rescue | 2012 | Pierce Velocity | Y | Y | Y | Y | - | Y | - | Y | - | Y | 35
Vernon | SQ-441 | Squad | 2021 | Pierce Velocity | Y | Y | Y | - | - | Y | - | Y | - | Y | 6
Warehouse Point | R-138 | Rescue | 1993 | Pierce | Y | - | - | - | - | - | - | - | - | - | -
Warehouse Point | SQ-238 | Squad | 2009 | Pierce Arrow | Y | - | - | - | - | - | - | - | - | - | -
West Stafford | SQ-144 | Squad | 2005 | Pierce Lance | Y | Y | - | - | - | - | - | - | - | Y | -
West Stafford | R-244 | Rescue | 2013 | Dodge 3500 | Y | - | - | - | - | - | - | - | - | - | -
Willington #1 | SQ-113 | Squad | 2003 | Freightliner/Darley | Y |  | Y | - | - | - | Y | Y | - | Y | 25
Willington Hill | R-149 | Rescue | 1996 | Mack/ Marion | Y | Y | - | - | - | - | - | - | 6000 | - | 25

## Tanker 2000+
TANKERS (2000+ Gallons)
Department | Call Sign |  | Apparatus Information |  | Pump (gpm) | Tank (gal) | Dump valve | Dump valve | Portable Tank | Supply hose | Length | Fill size
Andover | Tank 115 | Tanker | 2020 | Freightliner/US Tanker | 1500 | 3000 | Y | S/R | 3000 (2) | 4" | 500 | 4"(2)
Bolton | Tank 234 | Tanker | 2016 | Kenworth / US Tanker | 1500 | 3000 | Y | S/R | 3500 | 4" |  | 4"(2)
Broad Brook | ET-139 | Engine Tank | 2004 | HME / Central States | 1500 | 2000 | - | - | - | 4" | 2500 | -
Columbia | Tank 105 | Tanker | 2007 | Kenworth / Pierce | 1500 | 3000 | Y | S/R | 3500 | 4" | 1000 | 4"(2)
Coventry | Tank 218 | Tanker | 2016 | Freightliner/Midwest Tanker | 1250 | 3000 | Y | S/R | 3500 | - | - | 5"(2)
Crystal Lake | ET-242 | Engine Tank | 2005 | Spartan Gladiator | 1500 | 2000 | - | - | - | 5" | 1100 | -
Crystal Lake | Tank 142 | Tanker | 2016 | Freightliner/ 4 Guys | 1250 | 3000 | Y | S/R | 3000 | - | - | 4"(2)
East Granby | Tank 408 | Tanker | 2013 | Kenworth/4 Guys | 1250 | 3200 | Y | S/R | Y | 4' |  | #NAME?
Ellington | Tank 143 | Tanker | 2007 | Kenworth / US Tanker | 1500 | 3000 | Y | R | 3500 | 5" | 300 | -
Hebron | Tank 110 | Tanker | 2005 | International / 4 Guys | 1000 | 3000 | Y | S/R | 3000 | 5" | 300 | 3.5"
Lebanon | Tank 106 | Tanker | 1996 | International / Central States | 1500 | 2500 | Y | S/R | 3000 | 5" | 1200
Mansfield | Tank 307 | Tanker | 2016 | Spartan Metro Star | 1250 | 3000 | Y | S/R | 3500 3000 | 5" | 200 | 5"(2)
Marlborough | Tank 117 | Tanker | 2007 | International 4400 | 1250 | 1800 | Y | S/R | 2000 | - | -
Marlborough | Tank 217 | Tanker | 2007 | International 4400 | 1250 | 1800 | Y | S/R | 2000 | - | -
Somers | Tank 146 | Tanker | 2014 | Kenworth / 4 Guys | 1250 | 3000 | Y | S/R | 3000 | 5" | 300 | 4"
Somers | Tank 246 | Tanker | 2006 | Kenworth / KME | 1500 | 2500 | Y | S/R | 3000 | 5" | 1000 | -
Tolland | Tank 140 | Tanker | 2003 | Kenworth / US Tanker | 1500 | 3000 | Y | S/R | 3000 | 4" | 300 | 4"(2)
Tolland | Tank 440 | Tanker | 2003 | Kenworth / US Tanker | 1500 | 3000 | Y | S/R | 3000 | 4" | 300 | 4"(2)
Vernon | ET-241 | Engine Tank | 2003 | American LaFrance | 1500 | 2000 | - | - | - | 4" | 1500 | -
West Stafford | ET-244 | Engine Tank | 2000 | Pierce Lance | 1250 | 2000 | - | - | - | 4" | 1700 | -
West Stafford | Tank 144 | Tanker | 2016 | Kenworth / 4 Guys | 1250 | 3000 | Y | S/R | 3500(2) | 5" | 300 | 5" (2)
Willington #1 | ET-113 | Engine Tank | 2017 | Spartan Gladiator | 1500 | 2000 | Y | S/R | - | 5" | 2200 | 4"
Willington #1 | ET-213 | Engine Tank | 1990 | International / Darley | 1750 | 2000 | - | - | - | 5" | 2350 | 3"
Willington Hill | Tank 149 | Tanker | 2003 | Western Star / US Tanker | 1250 | 3000 | Y | S/R | 3000 | 2.5 | 300 | 4"(2)

## Trailer
TRAILERS
Department | Call Sign | Apparatus Information | Class A (gal) | Class B (gal) | Extrication | Air bags | Water Rescue | Confined | Trench | Rope rescue | Haz mat | Gas meters | SCBA fill | Light tower | Generator (Kw)
East Granby |  | State Decon Trailer | - | - | - | - | - | - | - | - | - | - | - | - | -
Ellington | HM-143 | FEMA Type 1 Haz Mat Trailer | - | - | - | - | - | - | - | - | Y | - | - | - | -
Mansfield |  | DEEP HazMat/MCI Trailer | - | - | - | - | - | - | - | - | Y | - | - | - | 3
UCONN |  | State MCI Trailer | - | - | - | - | - | - | - | - | - | - | - | - | -
Vernon |  | State Decon Trailer | - | - | - | - | - | - | - | - | - | - | - | - | Y
West Stafford |  | State Decon Trailer | - | - | - | - | - | - | - | - | - | - | - | - | Y
Willington #1 |  | State Foam Trailer | - | 500 | - | - | - | - | - | - | - | - | - | - | -

## Sheet1 (hidden)
Department | Extrication Mfg. | SCBA Brand
Andover
Ashford
Bolton
Columbia
Crystal Lake | Hurst
Ellington
Hebron
Mansfield
North Coventry
Somers
Stafford #1 |  | MSA
Tolland | Hurst | Interspiro
UCONN
Vernon |  | Scott
Warehouse Point
West Stafford | Hurst | MSA
Willington #1 | Hurst | Scott
Willington Hill